## Slide 1: Recording crustal tilt with the new NSWT in Lohja, Finland
Hannu Ruotsalainen
Finnish Geodetic Institute

## Slide 2: Content
Some principles of interferometrical watertube tiltmeter
Construction and instrumentation of the new NSWT
First recordings
Crustal loading of Gulf of Finland

## Slide 3: Michelson&Gale WT 1914-1919

## Slide 4: Kukkamäki 1 km landuplift tiltmeter plan in1965

## Slide 5: Kääriäinen NS & EW WT in Lohja 1977-1998

## Slide 6: Ruotsalainen design

## Slide 7: Prototype in FGI lab

## Slide 8: Fizeau level interferometer

## Slide 9: New 50.4 m long NSWT in Lohja mine

## Slide 10: 50.4 m long NSWT

## Slide 11: Modernization during 2007-2008
Modular stainless steel tube & junctions laying on bedrock surface adjusted with concrete plates and triangle shape bricks to prepare stability
Possible leakages of 50.4 m tube line tested with high (~3 atm) air pressure
Pots plated inside with teflon to avoid fluid friction against pot walls
New 2 mW HeNe-lasers and collimators
Computer recording carried out from 200 & 250 meters away from interferometers by using fiberoptic links .

## Slide 12: Earthquakes and seismics in phase recording

## Slide 13: NSWT recording 2/2008

## Slide 14: Loading of Gulf of Finland

## Slide 15: Residual of old NSWT and TG record of Hanko in 10/1992

## Slide 16: Future
First tidal tilt analyse after 3 month of data
Comparison of non-tidal residual with Baltic Sea loading
Internet connection is planned to be built between Lohja and FGI to control recordings and download data and to use NTP timing of computers.